# FEATURES

- 22 Gauge metal housing with matt white paint

- Smooth PMMA cover lens

- High efficacy meets premium;

- Lens & LED board build-in-one design

- Suspension and surface mount option

- Wattage & CCT selectable

- 5 Year warranty

- DC 12V Auxiliary

# Applications

- Parking lot

- Supermarket

- Corridor

- Retail spaces

- Warehouses

# Ordering Information

| Name | Length | Wattage | Dimming | Driver | CCT | Backup | Sensor |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MLSN | 2:2FT | 22 Or 20/24/28 | /D10:0-10V | /U:120-277V /W: 120-347 | 35-40-50 | Blank: None | Blank: None |
|  | 4:4FT | 22/28/36/44 |  |  |  | Battery Backup | Sensor |
|  | 8:8FT | 44/58/68 |  |  |  |  |  |
|  | 8:8FT | 48/68/90 |  |  |  |  |  |

Example:  MLSN4-22/28/36/44/D10/U/35-40-50/MS

( covers 22/28/36/44W 4FT 120-277V multi-CCT with motion sensor)

# specifications

| Model | MLSN2 | MLSN4 | MLSN8 |  |
| --- | --- | --- | --- | --- |
| Wattage | ( Cover 22W) (Cover 20/24/28) | (covers22/28/36/44W) | (Covers 44/58/68W) (Covers48/68/90W) |  |
| Voltage | 120-277V 120-347V |  |  |  |
| LM/W | >130 @4000K |  |  |  |
| CCT | 3500K-4000K-5000K |  |  |  |
| CRI | >80 |  |  |  |
| L70/L90 | 100,000/40,000h |  |  |  |
| Beam Angle | 120° |  |  |  |
| Dimension(mm) | 610x68.8x65.5 | 1183.6x68.8x65.5 |  | 2357.6x68.8x65.5 |

Note: Actual performance may differ as a result of end-user environment and application.

All values are design or typical values, measured under laboratory conditions at 25 °C.

Specifications subject to change without notice

# photometric data

| V-Hook | Aircraft cable | Chain | Joiner bracket | Backup pack | Motion Sensor |
| --- | --- | --- | --- | --- | --- |
| Included |  |  |  |  |  |

# Accessories